- SCEW-4* – 16 Gallon “AquaGuard” gravity-flow portable eye wash unit with heavy duty polyethylene tank, wall or counter mounted. Supplied with 3’ drain hose, epoxy coated steel bracket.   Delivers .7 GPM for 15 Minutes.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be fully assembled and tested to meet or exceed ANSI Z358.1 – 2009, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1540