- ES-1* – Horizontally mounted emergency shower with recessed, stainless steel, flanged shower head, 1” IPS Schedule 40 hot dipped galvanized pipe and fittings, stainless steel “ON” and “ OFF” pull chains, 1” IPS brass stay-open valve, stainless steel actuating arm, and ceiling ferrules.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2009, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1627