- ES-6*– Horizontally mounted emergency shower with ABS plastic shower head (optional stainless steel shower head ”SSH”), 1” IPS Schedule 40 hot dipped galvanized pipe and fittings, polished stainless steel pull rod, 1” IPS chrome plated brass stay-open ball valve and stainless steel actuating arm.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2009, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1643 and G1643SSH