- ES-8*– Horizontally mounted emergency shower with stainless steel shower head, vertical supply pipe, fittings, escutcheon, guide plate, 1” IPS brass stay-open ball valve, stainless steel actuating arm and 63 ½” long polished stainless steel pull rod.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2009, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1658