- ES-19*– Free standing emergency shower, all stainless steel construction, corrosion resistant emergency shower with stainless steel shower head, polished stainless steel pull rod, 1” IPS  stainless steel stay-open valve and stainless steel actuating arm.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2009, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1696