- EW-13* – Pedestal mounted eye wash with stainless steel bowl, Schedule 40 galvanized pipe and fittings, ½” U.S. made chrome plated stay open ball valve, powder coated cast aluminum flag handle and floor flange. Supplied with stainless steel bowl cover which opens when valve is activated, preventing particulates from congregating in bowl.  Unit shall have (2) polypropylene ‘GS Plus’ spray heads with integral filters and 1.8-GPM flow control orifices mounted on a chrome plated brass eyewash assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2009, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1825BC