- SS-23* - Combination eye wash/shower safety station with freeze protection valve (activated at 35° F) and scald protection valve (activates at 105° F), ABS plastic shower head (optional stainless steel shower head ”SSH”), stainless steel bowl, stainless steel flag handle, powder coated cast aluminum floor flange, 1 ¼” IPS Schedule 40 galvanized pipe and fittings, 1” IPS and ½” IPS U.S. made chrome plated brass stay open ball valves, and polished stainless steel pull rod.  Unit shall have (2) polypropylene ‘GS Plus’ spray heads with integral “flip-top” dust covers, filters, and 1.8-GPM flow control orifices mounted on a chrome plated brass eyewash assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall meet or exceed ANSI Z358.1 – 2009, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment G1942 and G1942SSH