- ESBF-4* – Barrier–Free, vertically mounted emergency shower with ABS plastic shower head (optional stainless steel shower head ”SSH”), 59 ½” long polished stainless steel pull rod, steel stainless steel actuating arm and 1” IPS chrome plated brass stay-open ball valve.  Unit shall include ANSI compliant sign.

- Performance: Unit complies with ADA requirements for accessibility by handicapped persons. Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2009, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment GBF1635 and GBF1635SSH