- ESBF-15*– Barrier free, recessed, wall mounted emergency shower with ceiling mounted recessed stainless steel flanged shower head, internal 20 GPM flow control, concealed 1” IPS brass stay-open ball valve, 1” IPS brass unions, stainless steel “panic bar” with vinyl grip, and 16 gauge type 304 stainless steel cabinet with #4 brushed satin finish and access panel.  Unit shall include ANSI compliant sign.

- Performance:  Unit complies with ADA requirements for accessibility by handicapped persons. Valve assembly shall be fully factory assembled and hydrostatically tested to meet or exceed ANSI Z358.1 – 2014, and come with a full 2-year warranty.

- Fixture: Guardian GBF1671

Distributed by:

Safety Emporium

PO Box 1003

Blackwood, NJ 08012

Ph: (866) 326-5412 toll-free

Fax: (856) 553-6154

esupport@safetyemporium.com

www. safetyemporium.com