- ESFR-20*– Freeze-Resistant, horizontally wall mounted emergency shower with ABS plastic shower head (optional stainless steel shower head ”SSH”), 1” IPS  chrome plated brass stay-open ball valve, and epoxy powder coated flag handle.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be hydrostatically tested to meet or exceed ANSI Z358.1 – 2009, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment GFR1205 and GFR1205SSH