- SSFR-8* –Freeze resistant, combination eye wash/shower safety station with stainless steel bowl and ABS plastic shower head (optional stainless steel shower head ”SSH”), Schedule 40 galvanized pipe and fittings, 1 ¼ ” and ¾”  IPS freeze resistant stay open bury valves with push plates (36” standard bury depth), and a ¼” IPS bleed outlet.  Unit shall have (2) polypropylene ‘GS Plus’ spray heads with integral “flip-top” dust covers, filters and 1.8-GPM flow control orifices mounted on a chrome plated brass eyewash assembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall meet or exceed ANSI Z358.1 – 2009, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment GFR1902 and GFR1902SSH