- DHVR-8* - Deck mounted, hand-held drench hose with ½” IPS U.S. made chrome plated brass squeeze valve with renewable stainless steel seat (optional locking clip, “LC”), insulator handle, stainless steel handle with plastic cover, nylon deck flange, and 8ft. PVC hose.  Unit shall have chrome-plated brass ‘FS Plus’ spray head with integral stainless steel “flip-top” dust cover, filter and 3.2-GPM flow control orifice.

- Vandal Resistance: All connections shall be secured with setscrews or cement to prevent disassembly.  Unit shall include ANSI compliant sign.

- Performance:  Unit shall be fully factory assembled and hydrostatically tested before delivery to meet or exceed ANSI Z358.1 – 2009, and come with a full 2-year warranty.

- Fixture:  Guardian Equipment GVR5020 and GVR5020LC